## ColumnHeaders
attributeName | attributeDefinition | class | unit | dateTimeFormatString | missingValueCode | missingValueCodeExplanation
cruise | Identifier for research cruise generally including abbreviation for research vessel and voyage number | character
date_time_utc | Date and time in UTC when rosette bottle closed | Date |  | YYYY-MM-DD hh:mm:ss | NaN | Missing value
latitude | Ships latitude when the rosette bottle closed | numeric | degree |  | NaN | Missing value
longitude | Ships longitude when the rosette bottle closed | numeric | degree |  | NaN | Missing value
depth | Depth of underway seawater intake below sea surface | numeric | meter |  | NaN | Missing value
replicate | Lowercase letter indicating replicate subsample drawn from the same rosette bottle | character
filter_size | Size fraction with filter and when applicable prefilter in micrometers >0 Filtered on 0.7 micron filter | categorical
chl | Concentration of chlorophyll a per unit volume of the water body http://vocab.nerc.ac.uk/collection/P01/current/CPHLZZXX/ corresponding to BCO-DMO chl_a SeaBASS Chl and CF mass_concentration_of_ chlorophyll_a_in_sea_water | numeric | microgramsPerLiter |  | NaN | Missing value
phaeo | Concentration of phaeopigments per unit volume of the water body | numeric | microgramsPerLiter |  | NaN | Missing value
iode_quality_flag | IODE Quality Flag primary level | categorical
fluorescence_wetstar_post_cal | Post-calibrated chlorophyll a concentration for wetstar fluorometer | numeric | microgramsPerLiter |  | NaN | Missing value
fluorescence_ecofl_post_cal | Post-calibrated chlorophyll a concentration for ecofl fluorometer | numeric | microgramsPerLiter |  | NaN | Missing value
preferred_fluorometer | Fluorometer with better linear regression to measured chlorophyll a per cruise | categorical
nearest_station | NES-LTER standard station nearest to the sample location | character |  |  | NaN | Distance greater than 2 km from NES-LTER standard station
distance | Distance from sample location to nearest NES-LTER standard station | numeric | kilometer |  | NaN | Distance greater than 2 km from NES-LTER standard station

## CategoricalVariables
attributeName | code | definition
preferred_fluorometer | ecofl | WETLabs ECO FLRTD fluorometer
preferred_fluorometer | wetstar | WetLabs WETStar fluorometer
iode_quality_flag | 1 | good
iode_quality_flag | 2 | quality not evaluated, not available or unknown
iode_quality_flag | 3 | questionable/suspect
iode_quality_flag | 4 | bad
iode_quality_flag | 9 | missing data

## Personnel
givenName | middleInitial | surName | organizationName | electronicMailAddress | userId | role | projectTitle | fundingAgency | fundingNumber
Susanne |  | Menden-Deuer | Northeast U.S. Shelf LTER | smenden@uri.edu | 0000-0002-8434-4251 | creator | Northeast U.S. Shelf LTER | NSF | OCE-1655686
Susanne |  | Menden-Deuer | Northeast U.S. Shelf LTER | smenden@uri.edu | 0000-0002-8434-4251 | PI | Northeast U.S. Shelf LTER | NSF | OCE-1655686
Amanda |  | Herbst | Northeast U.S. Shelf LTER | amanda_herbst@uri.edu | 0000-0002-0478-5947 | undergraduate Student | Northeast U.S. Shelf LTER | NSF | OCE-1655686
Pierre |  | Marrec | Northeast U.S. Shelf LTER | pmarrec@uri.edu | 0000-0002-7811-4150 | postdoctoral Researcher | Northeast U.S. Shelf LTER | NSF | OCE-1655686
NES-LTER Information Manager |  |  | Northeast U.S. Shelf LTER | lter-nes-info@whoi.edu |  | contact | Northeast U.S. Shelf LTER | NSF | OCE-1655686
Kate |  | Morkeski | Northeast U.S. Shelf LTER | kmorkeski@whoi.edu | 0000-0002-2903-5851 | metadata Provider | Northeast U.S. Shelf LTER | NSF | OCE-1655686

## Keywords
keyword | keywordThesaurus
Populations | LTER Core Research Areas
Primary production | LTER Core Research Areas
Organic matter | LTER Core Research Areas
chlorophyll a | LTER Controlled Vocabulary
fluorescence | LTER Controlled Vocabulary
marine | LTER Controlled Vocabulary
oceanography | LTER Controlled Vocabulary
phytoplankton | LTER Controlled Vocabulary
seawater | LTER Controlled Vocabulary
CHLOROPHYLL | NASA GCMD
FLUOROMETERS | NASA GCMD
CALIBRATION | NASA GCMD
CHLOROPHYLL | NOAA NODC Data Types Thesaurus

## CustomUnits
id | unitType | parentSI | multiplierToSI | description